## Cover
KMC PROJECT
GHAZIR - LEBANON
Bill of Quantities
MECHANICAL
REV 0 |  | R00
2026-03-19

## PREAMBLES
VOLUME 15 - MECHANICAL PREAMBLES
ITEM | DESCRIPTION
1 | PREAMBLES
1.1 | The Contractor shall furnish all the material, execute all the works necessary to the final accomplishment of the site according to the specifications and drawings. All secondary materials and accessories not mentioned in the bill of quantities shall also be supplied without any extra changes.
1.2 | The drawings and equipment schedules supplied are primary and necessary for the establishment of the tender documents only. The characteristics of the equipment to be verified by the contractor according to the site conditions.
1.3 | The price of each item shall include, the supply, the transport, the handling, the installation, the fittings, the accessories, the testing & balancing and the final delivery in good working order of the item.
1.4 | All jobs shall be done according to the trade skill and rules and shall respect all relative codes and specifications even though it is not mentioned for each specific item
1.5 | The price of each item shall include the testing and a one year warranty against material failure and/or poor workmanship
1.6 | The weight of the duct is indicative only. The final and accurate quantities will be evaluated after the complete installation of the system depending on what is actually installed.
1.7 | The lengths of the pipes indicated are not final. The final and accurate quantities will be evaluated after the complete installation of the system depending on what is actually installed.
1.8 | The contractor is responsible for the necessary coordination needed with the other contractors, no reclamation or price increases will be accepted.
1.9 | The contractor is responsible for the equipment, the tools and the material storage on site. All materials and equipment shall be kept clean and defect free until the installation time and will be properly protected after-wards.
1.10 | The contractor shall present a list of all his workers and an insurance policy that protects them against work accidents as well as personal accidents.
1.11 | In case of the refusal of any work done, the contractor will promptly change, at his own expenses, the work in question, under the engineer’s instructions and supervision.
1.12 | No material or equipment can be installed without the engineer’s prior consent.
1.13 | The contractor shall present to the engineer a work schedule showing all the starting and ending dates of each section of the work. A penalty, agreed upon, will be paid for any delay.
1.14 | If the contractor fails to continue the job, he will be replaced immediately and all relevant expenses and extra money paid will be at his charge.
1.15 | All the prices submitted are final, no reclamation or price increases will be accepted.
1.16 | The contractor is responsible for keeping the site free of debris, empty boxes, cartons, etc... that may have originated from his work.
1.17 | The supply of the sanitary fixtures and the chrome hardware are not included in the sub-contractor’s pricing. However, the prices of the installation of these items with the related accessories is included.
1.18 | All water supply & drainage pipes within a bathroom or kitchen (water supply pipes embedded in walls) are not measured and should not be paid on a linear meter basis. They are included in the rates of the related sanitary fixtures.
1.19 | Bill of quantities and drawings shall be read as one entity and each document completes the others.

## Medical Gas
MEDICAL GAS
ITEM | DESCRIPTION | QTY | UNIT | U.P. | T.P.
Medical Gas Works
The Contractor shall furnish all the material, execute all the works necessary to the final accomplishment of the site according to the specifications and drawings and the approval of the medical consultant. All secondary materials and accessories not mentioned in the bill of quantities shall also be supplied without any extra changes.
GAS DISTRIBUTION PIPING
Supply and installation of COPPER pipes , including fittings, expansion fittings, supports and accessories for gas pipes, all as specified and shown on drawings and detailed by medical specialist.
A | O2 Pipes | 44 | lm |  | 0
B | Medical air 4bar Pipes | 42 | lm |  | 0
C | Vacuum Pipes | 45 | lm |  | 0
GAS DISTRIBUTION OUTLETS and connections
Supply and installation of outlets , including fittings, expansion fittings, supports and accessories for gas outlets, all as specified and shown on drawings and detailed by medical specialist.
A | O2 connection | 4 | U |  | 0
B | Medical air 4bar connection | 4 | U |  | 0
C | Vacuum connection | 4 | U |  | 0
G | VALVES BOX 3 lines (with all valves gauges and accessories) | 1 | U |  | 0
I | BEDHEAD UNIT SINGLE 3 Outlets (with all valves gauges and accessories) | 4 | U |  | 0
TOTAL - MEDICAL GAZ WORKS, CARRIED TO SUMMARY |  |  |  |  | 0